- TARE (zero adjustment)

scale.tare(30);

Whatever weight is currently there =0

So tare removes:

- Box weight

- Platform weight

- Screw weight

- Read raw values (before calibration)

Example

Empty: RAW ≈ -31500

495g:  RAW ≈ -891550

Difference:

ΔRAW = -891550 - (-31500)

ΔRAW ≈ -860050 counts

- Calculate calibration factor

Calibration Factor = ΔRAW / Known Weight

-860050 / 495 ≈ -1737.35